## Slide 1: 19ECE301 Control Theory
5th Semester B.Tech ECE

## Slide 2: Lecture overview
Control system Definition
Need for study Motivation
Advantages of control systems
System Configurations
Analysis and design objectives
Design Process

## Slide 3: Control System Definition
Control is to make some one or something behave in a desired manner
Control systems consists of sub-systems assembled for the purpose of obtaining desired output with desired performance when given a specified input.
Example: Elevator (lift), Air Conditioned room

## Slide 4
Control systems part of modern society
  Air Conditoners, Refrigerators, washing machines,
Need for study

## Slide 5: Need for study of control systems
Control systems part of modern society
  Automatically machined metallic parts, hard disk reading head

## Slide 6: Need for study of control systems
Control systems part of modern society
  Robots delivering material to work station in a factory floor

## Slide 7: Definition and Need for study
Control systems part of modern society
  Enemy missiles tracked and shot down.

## Slide 8: Definition and Need for study
Control systems part of modern society
  Unmanned airplanes (drones) doing surveillance ……

## Slide 9: Definition and Need for study
They are part of nature
  Blood sugar control by pancreas
  Temperature control in the body

## Slide 10: Definition and Need for study
Many non-physical situations can be cast as Control problems
  Many economic issues
  Student performance with input as study time and output as grade
  …….
Summary
Integral Part of modern society, part of nature, many non physical situations can be seen as control problems
So not only an Electronics Engineering but every engineer should know

## Slide 11: Advantages of control systems
Power amplification
  Moving a lift, positioning an big antenna precisely
Remote control
  Operate on parts located in a radioactive environment or in far off places
Convenience of input
  Input to a temperature control system can be fed as a position of knob
Compensation for disturbances
  wind forces acting on an antenna, room temperature control disturbances are opening and closing of doors windows

## Slide 12: System configurations
Open-loop (OL) system
Examples
Washing machine (input: time, output: clean cloth)
Toaster (input: time, output: colour)
Irrigation sprinkler (input: time, output: soil moisture)
Motor speed control (input: voltage, output: speed)
Has poor sensitivity to disturbances, i.e., it cannot compensate for disturbances that add at the input and at the output of the plant

## Slide 13: System configurations
Closed-loop (CL) system
Example: Washing machine (hypothetical),
Cruise control (input: throttle, measurement: speed, output: speed)
Corrects for disturbances by gathering measurements, feeding measurements back through a feedback (FB) path, and comparing measurements to inputs

## Slide 14: System configurations
OL system
Advantages
  Simple
  Inexpensive
Disadvantages
  Lower accuracy
  Higher sensitivity to noise,
  disturbances, and changes in
  the environment
CL system
Advantages
  Higher accuracy
  Less sensitivity to noise,
  disturbances, and changes in
  the environment
Disadvantages
  Complex
  Expensive
  Stability
In modern control systems the computer plays the role of the controller and brings many advantages like time sharing, multiple roles and ease of change

## Slide 15: Definition (revisited)
Control systems consists of sub-systems assembled for the purpose of obtaining desired output with desired performance when given a specified input.
Example: Elevator
(response of an elevator)

## Slide 16: Analysis and Design Objectives
word “desired performance” is important
Analysis is the process by which a system’s performance is determined
Design is the process by which a system’s performance is created or changed.
Three major objectives
  Transient response (example of elevator and hard disk)
  Steady state response (example of elevator, hard disk and antenna)
  Stability

## Slide 17: Analysis and Design Objectives
Transient response and steady state response performance definitions not useful if the system is not stable.
To understand stability we have to understand about the Natural (transient)* and forced (steady state)* responses.
For a linear system
Total response= Natural + forced.
Natural response :Due to the system and the way the system acquires or dissipates energy
Forced response : Due to input

## Slide 18: Analysis and Design Objectives
For unstable systems natural response is so much greater than the forced response
For stable systems the natural response should decay or oscillate
Other Considerations
Robustness--Sensitivity to parameter changes
Hardware selection, e.g., power requirements and sensor accuracy
Economic

## Slide 19: Design Process
The design flow

## Slide 20: Case study
Antenna Azimuth Position Control System

## Slide 21: Design process
1. Transform requirements into a physical system
System concept
Qualitative description
Determine inputs and outputs
Description of the physical system

## Slide 22: Design process
2. Draw a functional block diagram
Detailed layout
Describes the component parts of the system (function and hardware) and shows their interconnections

## Slide 23: Problem
A room temperature control system operates by sensing the difference between the thermostat setting and the actual temperature and then opening a fuel valve an amount proportional to this difference.
Draw a functional closed-loop block diagram (similar to block diagram shown for antenna control system) identifying the input and output transducers, the controller, and the plant. Further, identify the input and output signals of all subsystems.

## Slide 24
Angular input
Voltage proportional to the angular input
Temperature of the room
Voltage proportional to the temperature
Voltage proportional to the error
Potentiometer
Signal and power amplifiers
Valves and heater along with the room
Thermocouple with its conditioning circuitry
Input transducer
Output transducer
controller
Implemented using a difference amplifier
Summing junction
Plant/process
Voltage
noise
External influences

## Slide 26: Problem
An aircraft’s attitude varies in roll, pitch, and yaw as defined in figure below. Draw a functional block diagram for a closed-loop system that stabilizes the roll.

## Slide 27
Pilot input
Voltage proportional to the angular input
Roll angle
Voltage proportional to the roll angle
Voltage proportional to the error
Potentiometer
Microcontroller driver power amplifiers
Airplane with aileron control motor driven
gyro
Input transducer
Output transducer
controller
Implemented in software
Summing junction
Plant/process
Voltage
noise
External influences

## Slide 28: Design process
3. Create a schematic
Transform the physical system into a schematic diagram
Make approximations and neglect certain phenomena
Start simple, check assumptions later through analysis and simulation, if too simple, i.e., does not adequately account for observed behavior, add phenomena
Use knowledge of the physical system, physical laws, and practical experience

## Slide 29: Design process
4. Develop a mathematical model (block diagram)
Use physical laws
Relationship between the inputs and outputs of the dynamic system
Linear, time-invariant (LTI) differential equations (DEs)
High order, nonlinear, time-varying, or partial DEs
Transfer functions (alternate representations of LTI DEs transformed using the Laplace transform)
State-space representation (alternate representation of nth-order DEs as n simultaneous first-order DEs)
Knowledge of parameter values

## Slide 30: Design process
5. Reduce the block diagram
Interconnect subsystem models to form block diagrams of larger systems
Each block represents a mathematical description with dynamics, relations, inputs, outputs, and parameters

## Slide 31: Design process
6. Analyze & design
Time response specifications and performance requirements
Test input waveform signals
Sensitivity analysis
Improve time response and performance
Adjusting system parameters
Design additional hardware
Minimize sensitivity over an expected range of environmental changes